| Item | The ultrasonic level sensor Type B |
| --- | --- |
| Accuracy | 0.3% or 0.25% |
| Medium | Liquid and solid |
| Temperature | -20~+60C |
| Power supply | 24VDC & 220VAC |
| Output | 4-20ma RS485 (by order) |  |  |
| Range | 5m |
| Blind area | >0.2m |
| Display | LED OR LCD |
| Output | 4-20ma;1-5V/1-10V;RS-485;3NPN |
| Emission angle | 12° |
| Anti explosion sign | EXia IIBT4Gb |